| 《 COMMODITY DESCRIPTION 》 | 물품분류번호 | 품목 및 규격 Description | 단위 Unit | 수량 Quantity |
| --- | --- | --- | --- | --- |
|  | 41112233 | 녹는점 측정기 Melting Point Apparatus Fixed Ramp Rate Model | EA | 13 |

## A.  Feature

- 32-bit Processor

- Accommodates 3 capillary tubes up to 2mm OD (storage for 100 pack)

- Tube Guide removal for cleaning and use of cold finger

- 40mm dia. lens (magnification 8X) removable and with adjustable focus

- 13-key membrane keypad

- Cooling rate choice

- Choice of ramp rate of 1.0°C/minute & 10°C/minute

- Fast ramp rate of 10°C/minute

- White LED illuminated oven

- Display (2 rows of characters with backlit LCD)

- 4 x 1 Melt memory capacity

## B.  Specifications

- Model : IA9100

- Oven temperature range ambient to 400°C

- Temperature resolution ± 0.1°C

- Accuracy ± 1%

- 제품 사이즈 : 35.5 x 20 x 8CM (D x W x H)

- 무게 : 2.5kg

- 전원 : 230V, 50/ 60Hz, 45W

## Remark

- 사용자의 지정장소에 설치 후 1년 동안 무상보증.

- 장비 작동법 매뉴얼 및 교육 제공 필요